## Instructions to reader
| Title: | UNDP TEMPLATE FOR TECHNICAL SPECIFICATIONS OF HEALTH PRODUCTS
| Number: | QST-HPR-001 | Version: | v01
| Effective date: | 17-05-2024 | Pages:
| Authors | ELizabeth K Abraham, Catherine Villegas & Matteo Pedrini
| Reviewer | Seloi Mogatle
| Review date: | 16-05-2025
Scope:
To develop the technical specification for tendering, procurement and purchasing of the health products to ensure compliance with UNDP’s expectations regarding the safety, quality and performance. The technical specification details essential criteria that must be provided by the end-user to enable suppliers to meet these requirements when submitting their offer. This document consists of templates for writing the technical specification of (i) medical devices including medical Personal Protective Equipment, medical equipment etc (ii) Rapid kits for diagnostic use (iii) Genral Lab Use products (iv) IVD Equipment (v) Reagents for IVD uses, and (vi) Finished Pharmaceutical Products.
Instructions to users and target audience:
The template should be utilized by end users or individuals tasked with creating such specifications. The UNDP country office may provide this template to end users for creating new technical specifications (e.g. products that do not appear on the GF lists). In cases where additional expertise is required, the CO can engage technical experts from the UNDP/GPN roster to assist in drafting the specifications. The template for medical device is developed based on the WHO guidelines [1]. If necessary, the end user can also refer to WHO Technical specifications for examples of medical devices, which details the technical specification of 61 different medical devices [2]. The person writing the specification should have work experience in the respective field, hold a Bachelors degree in the field of Biomedical engineering, medical technology, clinical laboratory science, biochemistry, pharmacy or a related field. For MDs and IVDs, the person should have adequate knowledge and experience in designing, developing, testing, validating, and regulating these products. Users are advised to refer UNDP QA policy [3] for regulatory requirements for medical devices, IVDs etc under Section 4 which details the rules and principles of the UNDP QA system for procuring health products. Additionally, users are advised to refer the UNDP technical requirements for medical devices and IVDs for the detailed technical and regulatory requirements for MDs and IVDs [4-5]. For example, the technical specification for an IVD that is class D, one can find the regulatory (QA) requirements for class D diagnostic device in 'Annex II List of conformity assessment elements required for IVDs' in the document titled 'UNDP technical requirements for IVD' [4]. In the case of a medical device, refer the Annex II- List of conformity assessment elements for MDs in the document titled 'UNDP technical requirements for MDs' [5]. Quality requirements related to Finished Pharmaceutical Products (FPPs) are described in UNDP QA Policy section 5.Product and Manufacturer Requirements while section 4 highlights FPPs selection rules. Upon completion, the technical specification for the item should be saved as a separate file and should be submitted to PSM for a comprehensive review. This will be followed by reviews from the technical and QA team members to ensure completeness of technical and regulatory aspects before handing it back to PSM. Once fully approved, the CO will forward the specifications to the procurement team for bidding. Users are encouraged to tailor the template to suit their specific needs and circumstances. This customization may include considerations such as local standards, regulations, language, infrastructure, climatic conditions, installation and service constraints, local clinical practices, emergency procurement procedures, tendering requirements, risk classification of the item, and other relevant factors. However, it is crucial to maintain the generic nature of the technical specifications, avoiding using brand-specific names and/or copying brand-specific specifications, except for CLOSED SYSTEMS. The template includes examples for reference purposes, which the users are advised to omit when developing the specifications. If any parameter in the template does not apply to the specified item, users can indicate "not applicable" for clarity.
Click on the below links to access the template for writing the specifications.
FOR WRITING TECH SPECIFICATION OF MEDICAL DEVICES, GO TO SHEET TITLED AS "Medical Device Template"
FOR WRITING TECH SPECIFICATION OF RAPID TEST KITS, GO TO SHEET TITLED AS "Rapid Test kits Template"
FOR WRITING TECH SPECIFICATION OF GENERAL LAB USE PRODUCTS (NOT FOR IVD), GO TO SHEET TITLED AS "General Lab Use Templat"
FOR WRITING TECH SPECIFICATION OF IVD EQUIPMENS, GO TO SHEET TITLED AS "IVD Equipment Template"
FOR WRITING TECH SPECIFICATION OF IVD reagents, GO TO SHEET TITLED AS "IVD Reagents Template"
FOR WRITING SPECIFICATION OF FINISHED PHARMACEUTICAL PRODUCTS, GO TO SHEET TITLED "PHARMACEUTICALS TEMPLATE"
References:
1. User guide: WHO technical specification for medical devices, Version 1.1, 2 June 2014 (Technical document)1. |  | https://cdn.who.int/media/docs/default-source/medical-devices/technical-specifications/user-guide.pdf?sfvrsn=2c161505_5&download=true
2. WHO developed examples of specifications of medical devices for reference. |  | https://www.who.int/publications/m/item/who-technical-specifications-for-61-medical-devices
3. UNDP QA policy |  | https://www.undp.org/sites/g/files/zskgke326/files/publications/QA_policy_Health_Products.pdf
4. UNDP technical and regulatory requirements for IVDs. To access the document, use the link. |  | https://undphealthimplementation.org/images/uploads/undp-technical-regulatory-requirements-for-in-vitro-diagnostic-devices-ivds-.pdf
5. UNDP technical and regulatory requirements for MDs. To access the document, use the link. |  | https://undphealthimplementation.org/images/uploads/undp-technical-regulatory-requirements-for-medical-devices.pdf

## Med Device Spec TEMPLATE
MEDICAL DEVICE SPECIFICATION
Item details
i | Version No. | 1
ii | Requesting Country office
iii | Name of the Requestor (CO officer)
iv | Name of Reviewer (PSM)
v | Name of the Reviewer (Technical)
vi | Name of the Reviewer (QA)
vii | Date of publication
Product Name and category details (Mandatory fields)
1 | Item Name (Generic name of the medical device as commonly used, Example: AD syringe)
2 | Synonyms, if any
3 | Item Description (Example: Syringe, auto-disable, 0.5 ml, with needle (23G) and protective cap, sterile)
4 | General Description /Definition (Example: Auto-disable syringes with a metal clip that locks the plunger after a single use. The syringe has a fixed needle and is packaged with plastic caps to keep the needle and plunger sterile before use)
Intended Purpose of Use
5 | Description of Intended purpose of use and overall functional requirements a)Clinical or other purpose (A description of the essential clinical and/or other objective/s associated with the device's utilization) b)Level of use considering the level of skill/s required of the device, the level of healthcare service delivery at which the device is to be used, or is typically used, for example, home use/district or regional hospital/specialized hospital/clinic etc.
6 | Target population (patient/self/etc.) and Target area (Clinical department, for example Operating room, Intensive Care Unit, Pediatric ward, Outpatient department, home use etc.)
Technical Specifications (Physical and chemical characteristics)
7 | Size / dimensions / Shape / Capacity etc. with tolerances
Description of Components (configuration of complex equipment, components of a kit, software etc.)
Raw materials used (steel grade, medical grade plastic etc.) (Describe if applicable to the item)
Mobility (portable/ stationary/wall mounted etc.)
Technical Specifications (Functional Requirements)
8 | Detailed requirements (performance and clinical requirements) Details of specific/critical functional requirements with associated values and ranges for the safe and effective functioning of the item for the intended purpose of use (e.g., alarm, flow rate, speed, sensitivity, clinical parameters to be measured, sterility, shelf life, biocompatibility requirements, Ingress protection (IP) as per specific product standards etc.
Display parameters such as user interface requirements, if relevant (e.g., display of pressure, volume, flow, status indicators, inspiration and expiration times, visual and audible alarms etc. and format (continuous waveform display, digital, trends, etc.)
User adjustable settings, if relevant (Device functional parameters, alarms, language, etc. that should be adjustable at the discretion of the user/s)
Documentation and language requirements (Instructions for use, storage and disposal, Operation/Service manual. Indications for use, contraindications, precautions, warnings, maintenance manual etc.
MSDS for chemicals and their mixtures, liquid formulations, and other hazardous substances, batteries etc.
Utility Requirements for installation, as applicable
9 | Power requirements with nominal mains voltage with frequency and permitted fluctuations / Space requirements (wall mounts or equipment on trolley)/ Gas supply /water supply / UPS requirement / battery operation is relevant
Site readiness manual to be provided by supplier for items, as applicable.
Accessories, Consumables, Spare Parts, Other Components till the end of the life span of the device
10 | Accessories needed and their intended use (type, number, functional requirements, sterilization process etc.) for full and proper functioning of the device. (Example: Autoclavable collection bottles (canisters) with overflow protection system, set of 5, Bacterial filters: set of 60, Rechargeable batteries, Case, etc.)
Consumables/reagents and disposables and their shelf life (including single-use accessories) to be used with the medical device. (Example: Disposable syringes of different kind of volumes for suction pump)
Spare parts and their availability (what parts are likely to be needed in the first year of operation, Spare parts availability post-warranty and indicate the duration of availability (or supplier to indicate duration spares will be available etc.) (Examples: Two Disposable plastic canisters, Two spare sets of fuses, one CO2 sensor etc.)
Software for the equipment, as applicable
Other components (Examples, printers, stands, wall mounts, etc.).
Packaging and labelling requirements
11 | Primary packaging and labelling as per device classification and regulations applied (materials, Labelling of the device and primary packaging, etc.)
Secondary Packaging and Labelling
Specific considerations for transportation and storage
Shipping cartons, if relevant
Environmental Requirements
12 | Storage and operating temperatures & humidity with tolerances, Altitude etc. in accordance with local/anticipated conditions.
Disposal instructions after the stipulated lifetime of the device/equipment specific to local regulations where the device is used, as applicable
TRAINING, INSTALLATION AND UTILISATION
13 | Pre-installation requirements (if relevant) Construction / structural changes, utility requirements, etc.
Requirements for commissioning/'sign-off' (if relevant) Manufacturer/supplier to perform installation, safety and operation checks before handover. Acceptance tests to be specified and local clinical and technical staff to verify proper and full functioning of device.
Online and/or on-site training of user/s for operation and basic maintenance, training of maintenance personnel etc. (if relevant)
Information to be provided by manufacturer/supplier, e.g., cleaning, disinfection/sterilization method (for reusable devices, for reusable spares and accessories etc.).
WARRANTY AND MAINTENANCE
14 | Warranty details, as applicable. Mandatory to offer 1 year warranty and shall be extendable as per country requirements (Date of commencement, duration of warranty period, type of service contract, exclusions/inclusions and other conditions such as maintenance support during warranty must be specified) Service contracts estimate for 2 years after the warranty period, wherever applicable.
Maintenance tasks, Calibration requirements, Software / hardware upgrade availability, wherever applicable.
Safety & Product Standards (latest or current versions)
15 | Compliance to internationally accepted harmonized standards (e.g. as per International Organization for Standardization (ISO), or equivalent standards published by similar organizations recognized by the founding members of the GHTF) for safety and efficacy (Risk Management System as per ISO 14971, Product standards for general requirements for basic safety and essential performance, Biocompatibility testing, safety testing of medical electrical equipment for electromagnetic and low voltage compatibility etc.) Supplier to list all applicable product standards when the offer is made
Quality and Regulatory requirements## (for the item including spares, accessories, softwares etc as applicable)
16 | Risk classification of the item (Class A/B/C/D or Class I, II, III or class I, Is/r/m, IIA, IIB, III) etc. as per one of the founding countries of the GHTF. Supplier shall provide this information as per the manufacturer's classification for the item including spares, accessories, software as applicable
Quality management system for the manufacturer (ISO 13485 certificate or equivalent issued by a Conformity Assessment Body (CAB) recognized by the NRAs in the Global Harmonization Task Force (GHTF) founding member countries USA, Australia, Japan, EU and Canada
Declaration of conformity (DOC) as per ISO 17050 (Includes details such as a statement from the manufacturer, classification & conformity route, applicable standards, conformity to other directives as applicable, date & signature by the manufacturer, device identifier, list of accessories or components, details of EU authorised representative for manufacturers outside Europe etc.)
Certificate of marketing authorization or approval by one of the GHTF founding members (CE, US FDA 510(k), etc.) (Australia: Therapeutic Goods Administration (TGA) Device License for both IVDs and Medical devices; Canada: Device License, Medical Devices Regulations (SOR/98-282) for both IVDs and medical devices. European Union: MDD 93/42/EEC to MDR 2017/745, CE Mark for medical devices, and IVDD 98/79/EC to IVD Regulation (EU) 2017/746 for in vitro diagnostic medical devices (IVDR). Japan: Device License from Pharmaceuticals and Medical Devices Agency (PMDA). USA: FDA 510(k) premarket Notification Clearance or Premarket Approval (PMA), Human Device Exception Approval (HDE) etc.).
Labelling as per regulations applied (Supplier to submit proof as pictures of the item offered/approved artwork)
Registration of the manufacturer by one of GHTF founding country's RA
Copy of the valid manufacturing license
ADDITIONAL INSTRUCTIONS
## For regulatory requirements for the various risk classes of MDs including the WHO prequalified MDs, please refer to the Annex II of the "UNDP technical and regulatory requirements for MDs". To access the document, use the link. https://undphealthimplementation.org/images/uploads/undp-technical-regulatory-requirements-for-medical-devices.pdf
| 5. UNDP technical and regulatory requirements for MDs. To access the document, use the link. | https://undphealthimplementation.org/images/uploads/undp-technical-regulatory-requirements-for-medical-devices.pdf

## Rapid Test kits TEMPLATE
Technical specification for a rapid diagnostic test (RDT) not listed in UNDP product master list
Version No.
Requesting Country office
Name of the Requestor (CO officer)
Name of Reviewer (PSM)
Name of the Reviewer (Technical)
Name of the Reviewer (QA)
Date of publication
Details | Requirements
1. Product Name and general description
2. Context of the request
Intended use
Intended users
Required labelling/IFU language
3.a. If request requires specific model and manufacturer
Product name
Product manufacturer reference
Pack size
Test kit content
Product listed in GF list according the GF QA policy (Y/N) Only applicable for GF funded project/procurement
Sole sourcing justification
3.b. If request does not require specific model and manufacturer
Test kit content/material to be included in the kit
Storage requirement
Shelf life upon manufacture
Type(s) of sample
Sample collection method(s)
Type of result readout
Required sensitivity
Required specificity
Pack size
Regulatory requirement (CE/FDA/WHO PQ/Others)## (Include both market clearance and QMS requirements based on the device risk classification)
Product and safety standards
ADDITIONAL INSTRUCTIONS
## For regulatory requirements for the various risk classes of IVDs including the WHO prequalified IVDs, please refer to the Annex II of the "UNDP technical and regulatory requirements for IVDs". To access the document, use the link. https://undphealthimplementation.org/images/uploads/undp-technical-regulatory-requirements-for-in-vitro-diagnostic-devices-ivds-.pdf
4. UNDP technical and regulatory requirements for IVDs. To access the document, use the link. | https://undphealthimplementation.org/images/uploads/undp-technical-regulatory-requirements-for-in-vitro-diagnostic-devices-ivds-.pdf

## General Lab Use product TEMPLAT
Technical specification for an General Laboratory Use product** not listed in UNDP product master list
Version No.
Requesting Country office
Name of the Requestor (CO officer)
Name of Reviewer (PSM)
Name of the Reviewer (Technical)
Name of the Reviewer (QA)
Date of publication
Details | Requirements
1. Product Name and general description
2. Context of the request
Intended use (Note: If the characteristics of the product make them suitable for one or more identified in vitro diagnostic examination procedures, please use the IVD equipment template or IVD Reagent template as applicable) | Select from dropdown menu
If others, specify the intended use. (Note: If the characteristics of the product make them suitable for one or more identified in vitro diagnostic examination procedures, please use the IVD equipment template or IVD Reagent template as applicable)
Intended users
Intented place(s) of installation (please specify the level of facility)
Required labelling/IFU language
3.a. If request requires specific model and manufacturer
Product name
Product manufacturer reference |  | EMDN level 3
Accessories included |  | EMDN level 4
Sole sourcing justification |  | EMDN level 5
3.b. If request does not require specific model and manufacturer |  | EMDN level 6
Scope of use
Instrument type Please select in dropdown menu | Others
Instrument sub-type## (Refer below section)
Instrument high level description
Instrument size (e.g mobile, benchtop, lab based…)
Additional desription and specification
Required accessories
Software requirement
Electricity/energy/plugtype requirement
Installation requirement
Training requirement
Repair and maintenance requirement
Warranty requirement
CAS Registry Number (Applicable for chemicals)
Grade (Applicable for chemicals)
Purity (Applicable for chemicals)
Shipping, Transportation and storage requirement
Pack size (Applicable for chemicals)
Shelf life (Applicable for chemicals)
Product and Safety standards (CE/FDA/WHO PQ/Others)*** (Include both market clearance and QMS requirements based on the device risk classification) (Refer note below)
ADDITIONAL INSTRUCTIONS
** General Laboratory Use products are used in a laboratory for general use (collection, preparation, and treatment of samples) with “no specific characteristics that make them suitable for one or more identified in vitro diagnostic examination procedures.”
## Sub type includes but not limited to: Lab separation equipment: General centrifuges, Shakers, cytospin Pipettes: General purpose pipettes (e.g., single or multiple pipettes, plastic pipettes, Pasteur pipettes) Basic apparatus: Tubes and flasks, Erlenmeyer, plastic tubes, Empty ELISA plates, empty Petri dishes Reagent kits for molecular biology: Nucleic Acid extraction products: DNA and RNA extraction kits that only provide a specimen without an intended IVD detection combination General Lab equipment: Scales, balances, microtomes, paraffin embedding machine, Laboratory refrigerators Microbiology Equipment: Microscopes, incubators, sterilizers , ELISA readers Analytical Lab equipment: HPLC size-exclusion Chromatography and columns, Mass spectrometers, spectrophotometers etc Biological media and reagents: Foetal calf serum, cell culture media, fixation solution, mounting media, buffers (e.g., PBS), Laboratory reagents: sulphuric acid, formol, water Others: please specify
***Regulatory requirement (CE/FDA/WHO PQ/Others) (Include both market clearance and QMS requirements based on the device risk classification)*** | Quality management system (QMS) from the manufacturer Compliance with Product basic safety testing by International Electrotechnical Commission IEC or equivalent IEC61010 (applicable parts) or equivalent for safety requirements for electrical equipment, Other applicable directives such as Machinery Directive 2006/42/EC, Restriction of Hazardous Substances in Electrical and Electronic Equipment (RoHS), REACH Regulation (EC) No 1907/2006, or equivalent certifications from NRA (AS APPLICABLE) Pictures of the item, packaging, and labelling In case of local procurement: Letter of Authorisation from the manufacturer to the local supplier authorising the distribution of its products in the country. MSDS (Material Safety Data Sheets) for hazardous goods / parts of the equipment / chemicals to be made available to the end user. User/operation manual Copy issued by the manufacturer
Refer UNDP Internal guidance note (Internal note: General Laboratory Use Products-Regulatory Overview GUD-IVD-001) | General Laboratory Use- UNDP internal note V01.docx

## IVD equipment TEMPLATE
Technical specification for an IVD equipment not listed in UNDP product master list
Version No.
Requesting Country office
Name of the Requestor (CO officer)
Name of Reviewer (PSM)
Name of the Reviewer (Technical)
Name of the Reviewer (QA)
Date of publication
Details | Requirements
1. Product Name and general description
2. Context of the request
Intended use
Intended users
Intented place(s) of installation (please specify the level of facility)
Required labelling/IFU language
3.a. If request requires specific model and manufacturer
Product name
Product manufacturer reference |  | EMDN level 3
Accessories included |  | EMDN level 4
Sole sourcing justification |  | EMDN level 5
3.b. If request does not require specific model and manufacturer |  | EMDN level 6
Scope of use
Instrument type Please select in dropdown menu | select from menu
Instrument sub-type
Instrument high level description**
Instrument size (e.g PoC, mobile, benchtop, lab based…)
Additional desription and details
Required accessories
Software requirement
Electricity/energy/plugtype requirement
Installation requirement
Training requirement
Repair and maintenance requirement
Warranty requirement
Regulatory requirement (CE/FDA/WHO PQ/Others)## (Include both market clearance and QMS requirements based on the device risk classification)
Product and Safety standards
ADDITIONAL INSTRUCTIONS
**Description includes but not limited to i) Devices for the detection of transmissible agents, ii) Devices for the detection of markers of physiological/pathological states iii) Devices for the determination of physiological/pathological parameters iv) Devices for the collection, preparation and examination of specimens v) specify other types as applicable
## For regulatory requirements for the various risk classes of IVDs including the WHO prequalified IVDs, please refer to the Annex II of the "UNDP technical and regulatory requirements for IVDs". To access the document, use the link. https://undphealthimplementation.org/images/uploads/undp-technical-regulatory-requirements-for-in-vitro-diagnostic-devices-ivds-.pdf
4. UNDP technical and regulatory requirements for IVDs. To access the document, use the link. | https://undphealthimplementation.org/images/uploads/undp-technical-regulatory-requirements-for-in-vitro-diagnostic-devices-ivds-.pdf

## IVD reagent TEMPLATE
Technical specification for a IVD reagent not listed in UNDP product master list
Version No.
Requesting Country office
Name of the Requestor (CO officer)
Name of Reviewer (PSM)
Name of the Reviewer (Technical)
Name of the Reviewer (QA)
Date of publication
Details | Requirements
1. Product Name and general description
2. Context of the request
Intended use
Intended users
Intented place(s) of use (please specify the level of facility)
Required labelling/IFU language
3.a. If request requires specific model and manufacturer
Product name
Product manufacturer reference
Accessories included
Instrument with which the reagent will be used Please provide instrument manufacturer, name and reference
Product listed in GF list according the GF QA policy (Y/N) Only applicable for GF funded project/procurement
Sole sourcing justification
3.b. If request does not require specific model and manufacturer
Scope of use
Reagent type | SELECT FROM MENU
Reagent sub-type
Reagent high level description**
Instrument with which the reagent will be used Please provide instrument manufacturer, name and reference
Type of sample
Additional desription and details
Storage requirement
Shelf life upon manufacture
Pack size
Required accessories
Training requirement
Regulatory requirement (CE/FDA/WHO PQ/Others)## (Include both market clearance and QMS requirements based on the device risk classification)
ADDITIONAL INSTRUCTIONS
**Description includes but not limited to i) Reagents for the detection of transmissible agents ii)Reagents for the detection of markers of physiological/pathological states iii) Reagents for the determination of physiological/pathological parameters iv)Reagents for the preparation of specimens v)Reagents for the calibration, control and verification of IVD devices vi) specify other types as applicable
## For regulatory requirements for the various risk classes of IVDs including the WHO prequalified IVDs, please refer to the Annex II of the "UNDP technical and regulatory requirements for IVDs". To access the document, use the link. https://undphealthimplementation.org/images/uploads/undp-technical-regulatory-requirements-for-in-vitro-diagnostic-devices-ivds-.pdf
4. UNDP technical and regulatory requirements for IVDs. To access the document, use the link. | https://undphealthimplementation.org/images/uploads/undp-technical-regulatory-requirements-for-in-vitro-diagnostic-devices-ivds-.pdf

## Pharmaceuticals TEMPLATE
Technical specification for a Finished Pharmaceutical Products (FPP) not listed in UNDP product master list
Version No.
Requesting Country Office
Name of Requestor (CO officer)
Name of Reviewer (PSM)
Name of the Reviewer (Technical)
Name of the Reviewer (QA)
Date of publication
Details | Requirements
1. Product general description
API (Active Pharmaceutical Ingredient)
Strength/concentration
Dosage form (e.g. tablet/capsule, cream/ointment, oral solution/suspension, (powder for) injectable solution etc.)
Preferred pack type (e.g. bottle, bag/pouch, vial, ampoule, blister, jar, pre-filled syringe/pen etc)
Preferred pack size (e.g. hospital pack -500 or more units- or patient pack -according to the treatment duration but in general less than 100 units-)
2. Product therapeutic and use information*
The product is required for the treatment of (indicate the disease/condition for which the product is requested)
The product is included in the National List of Essential Medicines: Y/N
The product is included in the National/institutional treatment protocol: Y/N
The product is included in the WHO Essential Medicines List: Y/N
3. Importing country requirements **
Language(s) required
For presentations not including country language, PDF version translation acceptable Y/N
Documents required at importation
Registration in importing country required: Y/N and detail (e.g. N=the product can be imported based on a waiver or Y=the product offered will need to be registered in the importing country)
Product country of origin (manufacturing) requirements: Y/N and detail (i.e.if products manufactured in specific countries are not accepted, please list the same countries)
Animal origin restrictions: Y/N and detail
Any other requirement
ADDITIONAL INSTRUCTIONS
*UNDP (and Global Fund) selection rules require the requested products to be in compliance with Standard Treatment Guidelines and Essential Medicines Lists (EML) of the country where the product will be used. Therefore, UNDP CO must assure the updated national EML and WHO EML are archived and always available at CO level.
**Requirements considered country related, specific to any FPP requested. They should be known and available at any UNDP CO